## 1
Price Bid for Installation of Earthing at 132/33 KV Grid Sub Station,MePTCL, Lad Nongkrem (Mawlyndep), Shillong.
Sl No | Description of work | Unit | Qty | Rate in Rs. | Amount in Rs.
1 | Earth work in excavation for Earth Pit in hard soil | m3 | 57.75
2 | Earth work in filling with available excavated earth | m3 | 57.75
3 | Providing of Bare Copper wire of size 6 mm | kg | 48
4 | Providing of Copper plate of size 2'X2'X6 mm to be used as electrode( 15 Kg approx.) | Kg | 105
5 | GI Flat 45X5mm (For HV,LV neutral of 2x20MVA Transformer, LV neutral of 100 KVA station Service Transformer & Earth mat) | kg | 4000
6 | Compound 1 (IEEE 80:2013 Cl.14.5d compound) | Kg | 600
7 | Compound 2 (IEEE 80:200 Cl.14.5d compound) | Kg | 1800
8 | GI Earthing pipe 40mm dia. | mtrs | 21
9 | GI Pipe 25 mm dia | mtrs | 21
10 | Drilling of holes on copper plate, cutting and supply of copper & GI nuts and bolts etc. | Lumpsome
Total
(Rupees _________________________________________________________________) only.
Signature of the Contractor