## Sheet3
Sl. No | Project Details | Project Start Date(DD-MM-YY) |  | Project Completion date (DD-MM-YY) | Total Capital Expenditure approved by MSERC/ Govt/ DPR/ FI (INR Cr.) | Project outlay in FY 2023-24 (Projected) in INR Cr. | Project outlay in FY 2024-25 (Projected) in INR Cr. | Source of Financing for Scheme |  |  | Capital Subsidies/ Grants Component | Funding Agency
| Name of scheme | [6 empty] | Equity component | Debt Component |  | (INR Cr.)
[9 empty] | Loan amount (INR Cr.) | Loan source |  |  |  |  | Year | Cap | Fund Outlay 2023-24 | Fund Outlay in 2024-25 | Fund Outlay in 2025-26 | Fund Outlay in 2026-27 | Grant Addittion 2023-24 | Grant Addittion 2024-25 | Grant Addittion 2025-26 | Grant Addittion 2026-27 | Loan Addittion 2023-24 | Loan Addittion 2024-25 | Loan Addittion 2025-26 | Loan Addittion 2026-27
A | Transmission lines on-going works
1 | Construction of 132 kV double circuit LILO on Mawlai-Cherra line at Mawngap sub- station | 22.03.2011 |  | 31.03.2024 | 4.97 | 1.24 |  |  | 0.497 | State Govt | 4.47 | NEC |  |  | 2023-24 | 4.97 | 1.24 | 0 | 0 | 0 | 1.1153 | 0 | 0 | 0 | 0.124 | 0 | 0 | 0
2 | Construction of 132 kV double circuit LILO line of 132 kV Rongkhon-Ampati line at Praharinagar | 01.04.2014 |  | 30.03.2025 | 11.93 | 4.04 | 4 |  | 1.193 | State Govt | 10.74 | SPA |  |  | 2024-25 | 11.93 | 4.04 | 4 | 0 | 0 | 3.637 | 3.601 | 0 | 0 | 0.404 | 0.4 | 0 | 0
3 | Re engineering and strengthening of 132kV S/C line from Khliehriat to Panchgram by HTLS conductor | 12.05.2022 |  | 2023-10-01 | 42.89 | 4.5 |  |  |  |  | 42.89 | PSDF |  |  | 2023-24 | 42.89 | 4.5 | 0 | 0 | 0 | 4.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Re engineering and strengthening of 132kV D/C line from Stage I to Stage III Power Station by HTLS conductor | 12.05.2022 |  | 23.12.2022 | 21.74 | 2.26 |  |  |  |  | 21.74 | PSDF |  |  | 2023-24 | 21.74 | 2.26 | 0 | 0 | 0 | 2.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Survey for construction of 132kV D/C line from 220/132kV New Shillong to 132/33kV Sohra S/s | 2023-24 |  | 2023-24 | 0.221 | 0.221 |  |  |  |  | 0.221 | State Plan |  |  | 2023-24 | 0.221 | 0.221 | 0 | 0 | 0 | 0.221 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Survey for construction of 220kV D/C line from 220kV Nangalbibra (ISTS) to 220/132/33kV New Shillong S/s | 2023-24 |  | 2023-24 | 0.758 | 0.51 |  |  |  |  | 0.758 | State Plan |  |  | 2023-24 | 0.758 | 0.51 | 0 | 0 | 0 | 0.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 82.5079 | 12.7722 | 4 |  | 1.6895 |  | 80.8184
B | Sub-station on-going works | [15 empty] | 0 | 0
1 | 132 kV sub-station at Praharinagar | 01.04.2014 |  | 30.03.2025 | 15.67 | 5.86 | 5 |  | 1.57 | State Govt | 14.11 | SPA |  |  | 2024-25 | 15.67 | 5.86 | 5 |  |  | 5.2766 | 4.5022 | 0 | 0 | 0.58712 | 0.50096 | 0 | 0
C | Others on-going works
2 | Replacement of the 400 KV, Bus Reactor at 400/220/132 KV Substation, Killing | 03.06.2021 |  | 31.08.2023 | 9.08 | 3.66 |  |  |  |  | 6.86 | PSDF |  |  | 2023-24 | 9.08 | 3.66 | 0 |  |  | 2.7652 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2.22 | State Plan
3 | Augmentation of 132/33KV, 2X20 MVA Mawlai substation to 132/33KV, 3x50 MVA substation including re-engineering of the 33KV Busbar’ | 01.06.2019 |  | 31.03.2027 | 49.8 | 26.39 | 23.41 |  |  |  | 49.8 | NESIDS |  |  | 2024-25 | 49.8 | 26.39 | 23.41 |  |  | 26.39 | 23.41 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 58.88 | 30.05 | 23.406 |  |  |  | 58.88
D | NERPSIP
1 | 220 kV double circuit Byrnihat (Killing) – Mawngap – New Shillong line | 01.04.2016 |  | 31.03.2024 | 733.68 |  |  |  |  | Govt. of India | 0 |  |  |  | 2023-24
2023-24
2023-24
2 | LILO of both circuit of MLHEP-Khliehriat 132 kV double circuit line at Mynkre | [13 empty] | 2023-24
3 | 132 kV double circuit line from Phulbari to Ampati | [13 empty] | 2023-24
4 | 220/132 kV sub-station at New Shillong | [13 empty] | 2023-24
5 | 220/132 kV sub-station at Mawngap | [13 empty] | 2023-24
6 | 132 / 33 kV, 2 x 50 MVA sub-station at New Shillong | [13 empty] | 2023-24
7 | 132/ 33 kV, 2 x 50 MVA sub-station at Mynkre | [13 empty] | 2023-24
8 | 132/ 33 kV, 2 x 50 MVA sub-station at Phulbari | [10 empty] | NERPSIP |  |  | 2023-24
[5 empty] | 733.68 | [5 empty] | 733.68
Sl. No | Project Details | Project Start Date (DD-MM-YY) | Project Completion Date (DD-MM-YY) | Total Capital Expenditure Projected by Govt/ DPR/ FI (INR Cr.) | Project outlay in FY 2023-24 (Projected) in INR Cr. | Project outlay in FY 2024-25 (Projected) in INR Cr. | Project outlay in FY 2025-26 (Projected) in INR Cr. | Project outlay in FY 2026-27 (Projected) in INR Cr. | Source of Financing for Scheme |  |  | Capital Subsidies/ Grants Component | Funding Agency
| Name of scheme | [7 empty] | Equity component | Debt Component |  | (INR Cr.)
[10 empty] | Loan amount (INR Cr.) | Loan source
A. | Transmission Line New works
1 | Construction of 132kV D/C line from 220/132kV Nangalbibra (ISTS) S/s to 132/33kV Nangalbibra (MePTCL) S/s | 2023-24 | 2023-24 | 45.67 | 25.67 | 20 |  |  |  | 4.567 | State Govt | 41.103 | State Plan |  | 2024-25 | 45.67 | 25.67 | 20 | 0 | 0 | 23.103 | 18 | 0 | 0 | 2.567 | 2 | 0 | 0
2 | Construction of 220kV D/C line from Nangalbibra (ISTS) S/s to New Shillong | 2023-24 | 2026-27 | 574.02 |  | 190 | 200 | 184.02 |  |  |  | 574.02 | EAP |  | 2026-27 | 574.02 | 0 | 190 | 200 | 184.02 | 0 | 190 | 200 | 184.02 | 0 | 0 | 0 | 0
3 | Construction of 132kV D/C line from 220/132kV New Shillong to 132/33kV Sohra S/s | 2023-24 | 2026-27 | 222 |  | 50 | 100 | 72 |  |  |  | 222 | EAP |  | 2026-27 | 222 | 0 | 50 | 100 | 72 | 0 | 50 | 100 | 72 | 0 | 0 | 0 | 0
4 | Construction of the LILO of the 132 KV D/C line from Stage-III Powerhouse to Umtru Powerhouse on Multi Circuit Towers at Nongpoh. | 2023-24 | 2025-26 | 23 | 6 | 11 | 6 |  |  | 2.3 | State Govt | 20.7 | NEC |  | 2025-26 | 23 | 6 | 11 | 6 | 0 | 5.4 | 9.9 | 5.4 | 0 | 0.6 | 1.1 | 0.6 | 0
5 | Re engineering & Strengthening of 132 KV D/C LILO of Umtru – Kahelipara Line at Killing with HTLS conductor | 2023-24 | 2024-25 | 45 | 13.5 | 18 | 13.5 |  |  |  |  | 45 | PSDF |  | 2025-26 | 45 | 13.5 | 18 | 13.5 | 0 | 13.5 | 18 | 13.5 | 0 | 0 | 0 | 0 | 0
6 | Re engineering & Strengthening of 132 KV UPS-Sarusajai line with HTLS conductor. | 2023-24 | 2025-26 | 40 | 5 | 7 | 16 | 12 |  |  |  | 40 | PSDF |  | 2026-27 | 40 | 5 | 7 | 16 | 12 | 5 | 7 | 16 | 12 | 0 | 0 | 0 | 0
7 | Construction of 132kV D/C Killing – Killing (New) line | 2025-26 | 2026-27 | 11.4 |  |  | 5.4 | 6 |  |  |  | 11.4 | EAP |  | 2026-27 | 11.4 | 0 | 0 | 5.4 | 6 | 0 | 0 | 5.4 | 6 | 0 | 0 | 0 | 0
8 | Installation of Transmission Line Surge Arrestor along the 132kV D/C Leshka-Khliehriat line | 2023-24 | 2023-24 | 2.16 | 2.16 | [6 empty] | 2.16 | PSDF |  | 2023-24 | 2.16 | 2.16 | 0 | 0 | 0 | 2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | Re conductoring and strengthening of 132kV S/c Transmission lines : Stage I - Mawlai, Stage I - Umiam, Umiam - NEHU, Khliehriat (MePTCL) - Khliehriat (PG2) and Mawlai - NEHU | 2023-24 | 2025-26 | 25.27 |  | 20 | 5.27 |  |  |  |  | 25.27 | PSDF |  | 2025-26 | 25.27 | 0 | 20 | 5.27 | 0 | 0 | 20 | 5.27 | 0 | 0 | 0 | 0 | 0
10 | ‘Re-conductoring of the 132 kV single circuit line from Khliehriat to Ratacherra by HTLS conductor (Meghalaya portion)’, | 2024-25 | 2026-27 | 49.3 |  | 10 | 29.3 | 10 |  |  |  | 49.3 | PSDF |  | 2026-27 | 49.3 | 0 | 10 | 29.3 | 10 | 0 | 10 | 29.3 | 10 | 0 | 0 | 0 | 0
|  |  |  | 1037.82 | 52.33 | 326 | 375.47 | 284.02 |  | 6.867 |  | 1030.953
B. | Sub-Station New works
1 | Replacement of 132/33, 2*20MVA ICTs with 2*50MVA ICTs at NEHU sub-station along with reengineering of Bus-bar | 2024-25 | 2024-25 | 15 | 15 | [6 empty] | 15 | EAP |  | 2023-24 | 15 | 15 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Replacement of 132/33, 2*20MVA ICTs with 2*50MVA ICTs at Mawphlang sub-station along with reengineering of Bus-bar | 2023-24 | 2024-25 | 15 | 10 | 5 | [5 empty] | 15 | EAP |  | 2024-25 | 15 | 10 | 5 | 0 | 0 | 10 | 5 | 0 | 0 | 0 | 0 | 0 | 0
3 | Construction of 132/33 KV, 2 x 25 MVA sub-station at Nongpoh. | 2023-24 | 2025-26 | 30 |  | 12 | 18 |  |  | 3 | State Govt | 27 | NEC |  | 2025-26 | 30 | 0 | 12 | 18 | 0 | 0 | 10.8 | 16.2 | 0 | 0 | 1.2 | 1.8 | 0
4 | Construction of the 132/33 KV, 2 x 25 MVA GIS sub-station at Killing, Byrnihat | 2024-25 | 2026-27 | 58.63 |  | 28.63 | 19.5 | 10.5 |  |  |  | 58.63 | EAP |  | 2026-27 | 58.63 | 0 | 28.63 | 19.5 | 10.5 | 0 | 28.63 | 19.5 | 10.5 | 0 | 0 | 0 | 0
|  |  |  | 118.63 | 25 | 45.63 | 37.5 | 10.5 |  | 3 |  | 115.63
C. | Others New Works
1 | Reliable Communication & Data Acquisition System Upto 132 KV | 2023-24 | 2024-25 | 18.51 |  | 18.51 |  |  |  | 1.851 | State Govt | 16.659 | PSDF |  | 2024-25 | 18.51 | 0 | 18.51 | 0 | 0 | 0 | 16.659 | 0 | 0 | 0 | 1.851 | 0 | 0
2 | Renovation & upgradation of Protection & Control System along with different Station Equipment in Grid S/s (Phase II) | 2023-24 | 2024-25 | 44.36 |  | 10 | 17.36 | 17 |  |  |  | 44.36 | PSDF |  | 2026-27 | 44.36 | 0 | 10 | 17.36 | 17 | 0 | 10 | 17.36 | 17 | 0 | 0 | 0 | 0
|  |  |  | 62.87 |  | 28.51 | 17.36 | 17 |  | 1.851 |  | 61.02
[13 empty] | 2023-24 | 96.819
[13 empty] | 2024-25 | 156.58
[13 empty] | 2025-26 | 123.27
[13 empty] | 2026-27 | 999.71

## Sheet2
Sl. No. | Category | Capitalization (in INR Crores)
|  | FY 2023-24 | FY 2024-25 | FY 2025-26 | FY 2026-27 | Total as on 31.03.2027
1 | Transmission Lines | 72.74 | 57.6 | 93.27 | 896.72 | 1120.33
2 | Substations | 15 | 30.67 | 30 | 58.63 | 134.3
3 | Other works | 9.08 | 68.31 | 0 | 44.36 | 121.75
Total Asset Addition |  | 96.82 | 156.58 | 123.27 | 999.71 | 1376.38
(in INR Crores)
Sl. No. | Category | Fund Requirement (in INR Crs)
|  | FY 2023-24 | FY 2024-25 | FY 2025-26 | FY 2026-27 | Total
1 | Transmission Lines | 65.19 | 330 | 375.47 | 284.02 | 1054.68
2 | Substations | 30.86 | 22 | 37.5 | 10.5 | 100.86
3 | Other works | 30.05 | 51.92 | 17.36 | 17 | 116.33
Total Fund Requirement |  | 126.1 | 403.92 | 430.33 | 311.52 | 1271.87
(in INR Crores)