## AdditionalCapitalization
Name of Project | Name of Scheme | Completion Date | Project Outlay | Year of Capitalization | Funding Patter for FY 2025-26 |  |  | Funding Patter for FY 2026-27
[5 empty] | Equity | Loan | Grant | Equity | Loan | Grant
Replacement of Two penstock butterfly Valve including By-pass valve along with all servo mechanism and related control system etc. | Umiam Stage I | 2026-27 | 6.14 | 2026-27 |  |  |  | 4.2292 | 1.9105 | 0.00026735
Re-engineering of firefighting system of Generator and Transformer | Umiam Stage I | 2026-27 | 0.09 | 2026-27 |  |  |  | 0.061992 | 0.028004 | 3.9188e-06
Replacement of transformer for Unit-1, Unit-2 and Unit-4. | Umiam Stage I | 2026-27 | 0 | 2026-27 |  |  |  | 0 | 0 | 0
Construction of Transformer Yard to accommodate station service transformers, Unit-1 & Unit-3 and procurement of the same. | Umiam Stage I | 2026-27 | 0.35 | 2026-27 |  |  |  | 0.24108 | 0.1089 | 1.524e-05
Construction of Beams and By-pass Isolators for KPS-1, KPS-2 &Umiam feeders. | Umiam Stage I | 2026-27 | 0.49 | 2026-27 |  |  |  | 0.33751 | 0.15247 | 2.1336e-05
132 KV SF6 Circuit Breaker (Spare) | Umiam Stage I | 2026-27 | 0.36 | 2026-27 |  |  |  | 0.24797 | 0.11202 | 1.5675e-05
Complete Installation of SCADA including Hardware and Software | Umiam Stage I | 2026-27 | 18.12 | 2026-27 |  |  |  | 12.4811 | 5.6381 | 0.00078899
Replacement of Governor and AVR system. | Umiam Stage I | 2026-27 | 0 | 2026-27 |  |  |  | 0 | 0 | 0
Replacement of Generator Stator Air Cooler for three Units | Umiam Stage I | 2026-27 | 3.51 | 2026-27 |  |  |  | 2.4177 | 1.0922 | 0.00015283
Upgradation of existing conventional AIS grid system with Gas insulated system (GIS) | Umiam Stage I | 2026-27 | 0 | 2026-27 |  |  |  | 0 | 0 | 0
Procurement and Installation of CCTVs at Stage I Power Station | Umiam Stage I | 2026-27 | 0.1 | 2026-27 |  |  |  | 0.06888 | 0.031116 | 4.3543e-06
Installation of 132/11 KV 5MVA Station Transformer and accessories to feed the Station Service Transformers. | Umiam Stage I | 2026-27 | 3.5 | 2026-27 |  |  |  | 2.4108 | 1.089 | 0.0001524
Replacement of Bypass Valve Stage-I | Umiam Stage I | 2026-27 | 1 | 2026-27 |  |  |  | 0.6888 | 0.31116 | 4.3543e-05
Repairing of PRV liners and Draft Tube of all four units of Stage-I power house. | Umiam Stage I | 2026-27 | 0.7 | 2026-27 |  |  |  | 0.48216 | 0.21781 | 3.048e-05
Painting of Penstock of Umiam Stage-I HEP. | Umiam Stage I | 2026-27 | 1.58 | 2026-27 |  |  |  | 1.0883 | 0.49163 | 6.8797e-05
ROV based Underwater inspection of tunnel interiors of the head race tunnel of Umiam Stage-I. | Umiam Stage I | 2026-27 | 0.99 | 2026-27 |  |  |  | 0.68191 | 0.30804 | 4.3107e-05
Repairing work of Draft Tube and PRV Outlet pipe in Umiam Stage - I Power Station. | Umiam Stage I | 2026-27 | 0.47 | 2026-27 |  |  |  | 0.32374 | 0.14624 | 2.0465e-05
Sub-Total Umiam Stage I |  |  | 37.4 |  | 0 | 0 | 0 | 79.095 | 35.73 | 0.0016285
Umiam Stage II
Installation of 250 KVA, 11/0.4 kv substation dedicated to the station supply of Umiam Stage-II Power Station including cables etc | Umiam Stage II | Mar'27 | 0.09 | 2026-27 | 0 | 0 | 0 | 0.07546 | 0.01 | 0.0045396
Emulsifier system for Generator Transformer in both Units. | Umiam Stage II | Mar'27 | 0.1 | 2026-27 | 0 | 0 | 0 | 0.09 | 0.01 | 0
Installation of On Line Supervisory system (SCADA) for the entire Power Station | Umiam Stage II | Mar'27 | 9.06 | 2026-27 | 0 | 0 | 0 | 8.15 | 0.91 | 0
Replacement of 11 KV Switchgear Panels | Umiam Stage II | Mar'27 | 2.72 | 2026-27 | 0 | 0 | 0 | 2.45 | 0.27 | 0
132 KV SF6 Circuit Breaker (Spare) | Umiam Stage II | Mar'27 | 0.24 | 2026-27 | 0 | 0 | 0 | 0.22 | 0.02 | 0
Upgradation of existing conventional AIS grid system with Gas insulated system (GIS) | Umiam Stage II | Mar'27 | 15 | 2026-27 | 0 | 0 | 0 | 10.5 | 4.5 | 0
Procurement and Installation of CCTVs at Stage II Power Station | Umiam Stage II | Mar'27 | 0.1 | 2026-27 | 0 | 0 | 0 | 0.09 | 0.01 | 0
Rehabilitation of the power channel at Umiam Stage-II. | Umiam Stage II | 2026-27 | 0 | 2026-27 | 0 | 0 | 0 | 0 | 0 | 0
Painting of penstock of Umiam Stage-II HEP. | Umiam Stage II | 2026-27 | 0.5 | 2026-27 | 0 | 0 | 0 | 0.45 | 0.05 | 0
Repairing work of Draft Tube and PRV outlet pipe at Umiam Stage-II Power station | Umiam Stage II | 2026-27 | 0.49 | 2026-27 | 0 | 0 | 0 | 0.44 | 0.05 | 0
Providing Protection wall adjacent to the Power Channel Umiam Stage-II | Umiam Stage II | 2026-27 | 1.37 | 2026-27 | 0 | 0 | 0 | 1.23 | 0.14 | 0
|  |  | 29.67 |  |  |  |  | 40.866 | 7.964
Umiam Stage III
Renovation Modernisation and Upgradation of Umiam Stage III HEPP. | RMU Stage III | April'26 | 407.36 | 2026-27 | 0 | 0 | 0 | 123.23 | 0 | 284.13 | 407.36
Re-Engineering of 132 KV BUS. | Umiam Stage III | Mar'27 | 1.5 | 2026-27 | 0 | 0 | 0 | 0.45 | 1.05 | 0 |  | 316.1114
Construction of 33 KV Bus and Bay for Outside source power supply from the existing 132/33 KV 10 MVA Transformer | Umiam Stage III | Mar'27 | 1.87 | 2026-27 | 0 | 0 | 0 | 0.56 | 1.31 | 0 |  | 91.2486
Procurement and Installation of CCTVs at Stage III Power Station | Umiam Stage III | Mar'27 | 0.1 | 2026-27 | 0 | 0 | 0 | 0.09 | 0.01 | 0
Eye ROV based underwater inspection of tunnel interiors of low pressure tunnel of Face-I Stage-III HEP Kyrdemkulai.. | Umiam Stage III | 2026-27 | 1.34 | 2026-27 | 0 | 0 | 0 | 1.206 | 0.134 | 0
Proposed Additional Link Tunnel from Kyrdemkulai Reservoir to Nongmahir Forebay for Umiam Stage III HEP | Umiam Stage III | Oct, 26 | 0 | 2026-27 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 412.17 |  |  |  |  | 151.8 | 63.63 | 284.13
Umiam Stage IV
Automation and monitoring of MIV of the Generating units | Umiam Stage IV | Mar'27 | 1.06 | 2026-27 | 0 | 0 | 0 | 0.32 | 0.74 | 0
1. Overhauling and replacement of damaged parts of Unit-II. 2. Procurement of excitation transformers | Umiam Stage IV | Mar'27 | 5.04 | 2026-27 | 0 | 0 | 0 | 1.51 | 3.53 | 0
Online Vibration monitoring of Generating Units | Umiam Stage IV | Mar'27 | 0.5 | 2026-27 | 0 | 0 | 0 | 0.15 | 0.35 | 0
Dedicated and reliable Outside Source power supply from 132 KV Bus. | Umiam Stage IV | Mar'27 | 2.79 | 2026-27 | 0 | 0 | 0 | 0.84 | 1.95 | 0
Telecommunication and Internet Facility | Umiam Stage IV | Mar'27 | 0.24 | 2026-27 | 0 | 0 | 0 | 0.07 | 0.17 | 0
Supervisory Control System (SCADA) | Umiam Stage IV | Mar'27 | 0 | 2026-27 | 0 | 0 | 0 | 2.62 | 6.11 | -8.73
Procurement of Spare Runner | Umiam Stage IV | Mar'27 | 6.5 | 2026-27 | 0 | 0 | 0 | 1.95 | 4.55 | 0
Hydraulic Power Pack with Control Panel for Butterfly Valve | Umiam Stage IV | Mar'27 | 0.8 | 2026-27 | 0 | 0 | 0 | 0.24 | 0.56 | 0
Installation of Fire fighting Scheme for Generator Stators | Umiam Stage IV | Mar'27 | 0.36 | 2026-27 | 0 | 0 | 0 | 0.11 | 0.25 | 0
Residual Life Assessment (RLA) of Stage IV Power Station | Umiam Stage IV | Mar'27 | 3.12 | 2026-27 | 0 | 0 | 0 | 0.94 | 2.18 | 0
Procurement and Installation of CCTVs at Stage IV Power Station | Umiam Stage IV | Mar'27 | 0.1 | 2026-27 | 0 | 0 | 0 | 0.09 | 0.01 | 0
Painting the internal and external surface of 2 nos. penstocks of Umiam Stage-IV Hep. | Umiam Stage IV | 2026-27 | 1.57 | 2026-27 | 0 | 0 | 0 | 1.41 | 0.16 | 0
Construction of bridge at Ch-16.00 Km on the road to Stage-IV power house Nongkhyllem | Umiam Stage IV | 2026-27 | 0.74 | 2026-27 | 0 | 0 | 0 | 0.67 | 0.07 | 0
Protection work to controlled the seepage from upstream at the Tail Race Stage -IV | Umiam Stage IV | 2026-27 | 0.12 | 2026-27 | 0 | 0 | 0 | 0.11 | 0.01 | 0
|  |  | 22.94 |  | 0 | 0 | 0 | 11.03 | 20.64 | -8.73
Umturu
Procurement and Installation of CCTVs at Umtru Power Station | NA | Mar'27 | 0.1 | 2026-27 | 0 | 0 | 0 | 0.09 | 0.01 | 0
0.1
Sonapani
a) Procurement and Installation of 415V 3 Ph LT panel. b) Relays and Cards to replace some existing defective ones and spares. c) Generator Circuit Breaker to replace the existing one. | NA | Mar'27 | 0.34 | 2026-27 | 0 | 0 | 0 | 0.1 | 0.24 | 0
|  |  | 0.34 |  | 0 | 0 | 0 | 0.1 | 0.24 | 0
Generation Protection Schemes
Procurement of Diagnostic Tools, Plant & Machineries for Generation system protection division | NA | Mar'27 | 2.51 | 2026-27 | 0 | 0 | 0 | 0.75 | 1.76 | 0
Installation of OPGW for communication system between Stage III & Stage IV, Stage I & Stage II and Umtru-New Umtru Power Station including all Fiber Optics terminal equipments. | NA | Mar'27 | 3.19 | 2026-27 | 0 | 0 | 0 | 0.96 | 2.23 | 0
Procurement of Online Oil Filtration Machine for all Generator Transformer under MePGCL | NA | Mar'27 | 2.11 | 2026-27 | 0 | 0 | 0 | 0.63 | 1.48 | 0
Installation of ADSS OFC for communication system (Dam Water Level monitoring) of Stage-3, Stage-4 and Leshka power stations including all Tranducers, Converter ,Fibre Optic Terminal Equipments and all associated accessories | NA | Mar'27 | 1.18 | 2026-27 | 0 | 0 | 0 | 0.35 | 0.83 | 0
|  |  | 8.99 |  | 0 | 0 | 0 | 2.69 | 6.3 | 0
Myntdu Leshka Power Station
Supply and erection of spare Generator Transformer 1-Phase, 17.5 MVA, 132/33 KV with accessories for Leshka Power Station | NA | Nov, 25 | 7.5 | 2025-26 | 6.75 | 0.75 | 0
Replacement of Switchgear & Protection System for Leshka Power Station | NA | Sept, 25 | 0 | 2025-26 | 31.5 | 3.5 | 0
Replacement of Air Coolers including accessories for Stator for all 3 units for Leshka Power Station | NA | April, 25 | 2 | 2025-26 | 0.91 | 0.09 | 1
MLHEP Stage-I : Painting of the External Surfaces of the Penstock Pipes (3 Numbers). | NA | April, 27 | 2 | 2026-27 |  |  |  | 1.8 | 0.2 | 0
|  |  | 11.5 |  | 39.16 | 4.34 | 1 | 1.8 | 0.2 | 0
NUHEP
Procurement and Installation of CCTVs at New Umtru Power Station | NA | Mar'27 | 0.14 | 2026-27 |  |  |  | 0.13 | 0.01 | 0
Heavy duty log boom | NA | Apr'25 | 0.5 | 2025-26 | 0 | 0 | 0.5
|  |  | 0.14 |  | 0 | 0 | 0 | 0.13 | 0.01 | 0
Lakroh
Replacement of Generator Transformer (with 3.3/33 KV, 2.5 MVA) including augmentation of Switchyard from 11KV to 33 KV for Lakroh PS | NA | Oct, 25 | 1.14 | 2025-26 | 1.03 | 0.11 | 0 | 0 | 0 | 1.14
|  |  | 1.14 |  | 1.03 | 0.11 | 0 | 0 | 0 | 1.14
Dam Rehabiliation Improvement Project
Dam Rehabilitation and Improvement Project (DRIP) Phase-2 and 3 for Umiam Stage-I. | DRIP | 2026-27 | 0 | 2026-27 | 0 | 0 | 0 | 0 | 0 | 0
Dam Rehabilitation and Improvement Project (DRIP) Phase-2 and 3 for Umiam-Umtru Stage-III. | DRIP | 2026-27 | 0 | 2026-27 | 0 | 0 | 0 | 0 | 0 | 0
Dam Rehabilitation and Improvement Project (DRIP) Phase-2 and 3 for Umiam-Umtru Stage-III. | DRIP | 2026-27 | 0 | 2026-27 | 0 | 0 | 0 | 0 | 0 | 0
MLHEP Stage-I Dam (DRIP-II &III) | DRIP | 2026-27 | 0 | 2026-27 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 |  |  |  |  | 0 |  | 0
[5 empty] | Equity | Loan | Grant
|  |  |  | 2025-26 | 40.19 | 4.45 | 1.5 | 46.14
|  |  |  | 2026-27 | 190.8326 | 47.5112 | 275.4062 | 513.75