## Additional Surcharge
ADDITIONAL SURCHARGE COMPUTATION
Particulars | Legend | Unit | Value
Availability i.e., declared capacity of different thermal power pstations | A | MWh | 672432.7375 | For MWh to MW Conversion
|  | MW | 153.9452 | Month | Days | Hours
Energy Scheduled from different Thermal Power Stations by MePDCL | B | MWh | 406323.8725 | Oct | 31 | 744
|  | MW | 93.0229 | Nov | 30 | 720
Capacity Not Availed | C=A-B | MWh | 266108.865 | Dec | 31 | 744
|  | MW | 60.9224 | Jan | 31 | 744
Energy Scheduled by Open Access Consumers from Other Sources | D | MWh | 69764.3122 | Feb | 28 | 672
|  | MW | 15.9717 | Mar | 31 | 744
Capacity Stranded Due to OA | E=Min(C,D) | MWh | 69764.3122 |  |  | 4368
|  | MW | 15.9717
Capacity Stranded Due to OA Adjusted for Inter State Transmission Losses | F=E*(1-3.66%) | MW | 15.3871
Capacity Stranded Due to OA Adjusted for Inter State Transmission Losses | G=E*(1-2.52%) | MW | 14.9994
Total Acual Fixed Charges payable for Generation for the Thermal Power Generation for 6 months Period | H | Rs. Cr. | 126.438
Fixed Capacity Charge per MW | I=H/A | Rs. Cr/ MW | 0.82132
Fixed Capacity Charges on account of Generation Component in tariff due to stranded capacity | J=E*I | Rs. Cr | 13.1178
Total Inter-State Transmission Charges Payable by MePDCL for 6 Months | K | Rs. Cr. | 57
Total Inter-State Capacity of MePDCL Considering (ex-bus contracted capacity for all type of generators at CTU periphery) | L | MW | 394.4
Propotional ISTS Component in tariff stranded for 6 months period | M= K*(E/L) | Rs. Cr. | 2.3083
Total Intra-State Transmission Charges incl. of SLDC Charges Payable by MePDCL for 6 Months | N | Rs. Cr. | 77.79
Total Intra-State Capacity of MePDCL Considering (ex-bus contracted capacity for all type of generators at CTU-STU periphery) | O | MW | 745.26
Propotional InSTS Component in tariff stranded for 6 months period | P=(N)*(F/O) | Rs. Cr. | 1.6061
Distribution Network Charges incurred by MePDCL for 6 Months Period | Q | Rs. Cr. | 192.23
Total Power Capacity of Distribution Network | R=O*(1-2.52%) | MW | 726.4794
Propotional Wheeling Charges Component Stranded for 6 Month | S=Q*G/R | Rs. Cr | 3.9689
Total Stranded Cost for 6 months | T | Rs. Cr | 21.0011
Fixed Cost Recovered from OA Consumers | U | Rs. Cr | 4.7915
Net Stranded Cost | V=T-U | Rs. Cr | 16.2096
Open Access Schedules Drawal | W | MWh | 69764.3122
Additional Surcharge | X=V/W*10^4 | Rs./ kWh | 2.3235

## Capacity Computation
Capacity Computation
Parameter | Unit | Value
Inter-State Ex-Bus Contracted Capacity | MW | 394.4
Intra-State Ex-Bus Contracted Capacity | MW | 365.3
Inter-State Transmission Losses | % | 3.66%
Capacity Available at State Periphery | MW | 745.265
Intra-State Transmission Losses | % | 2.52%
Capacity Available at DISCOM Periphery | MW | 726.4843
Capacity Stranded Due to OA at CTU Periphery | MW | 15.9717
Capacity Stranded Due to OA at State Periphery | MW | 15.3871
Capacity Stranded Due to OA at DISCOM Periphery | MW | 14.9994

## Availability Vs Drawal
AVAILABILITY & DRAWAL
Station wise Quantum purchased by MePDCL from ISGS (allocated share in MWh) (Thermal)
Month | AGBPP |  | AGTCCPP |  | OTPC |  | BGTPP |  | Total of all the stations |  | Total
| Declared Capacity | Final Schedule | Declared Capacity | Final Schedule | Declared Capacity | Final Schedule | Declared Capacity | Final Schedule | Total Declared Capacity | Total Final Schedule | Unscheduled
2025-10-01 | 15971.025 | 4320.4425 | 7247.2425 | 1828.0725 | 34994.105 | 24915.0775 | 59733.22 | 30709.1875 | 117945.5925 | 61772.78 | 56172.8125
2025-11-01 | 16630.02 | 4554.0775 | 9292.7175 | 1891.1375 | 31090.6875 | 24345.8575 | 57827.7525 | 36749.3 | 114841.1775 | 67540.3725 | 47300.805
2025-12-01 | 18677.375 | 6120.7 | 7459.375 | 1861.1875 | 34450.3725 | 33029.4025 | 56902.7675 | 39130.31 | 117489.89 | 80141.6 | 37348.29
2026-01-01 | 18196.87 | 6079.81 | 7860.365 | 2432.2175 | 36503.755 | 34765.5675 | 59806.9625 | 31452.6025 | 122367.9525 | 74730.1975 | 47637.755
2026-02-01 | 16491.825 | 3204.365 | 6772.22 | 1951.095 | 36022.275 | 32852.1025 | 38592 | 15443.78 | 97878.32 | 53451.3425 | 44426.9775
2026-03-01 | 16427.5725 | 6523.005 | 4931.2525 | 2023.6075 | 31571.6225 | 28666.5425 | 48979.3575 | 31474.425 | 101909.805 | 68687.58 | 33222.225
Total | 102394.6875 | 30802.4 | 43563.1725 | 11987.3175 | 204632.8175 | 178574.55 | 321842.06 | 184959.605 | 672432.7375 | 406323.8725 | 266108.865
Month | Unscheduled Energy (MWh) A | Energy Purchased By Consumers Through OA B | Capacity Stranded Due to OA Min (A,B)
2025-10-01 | 56172.8125 | 11575.2627 | 11575.2627
2025-11-01 | 47300.805 | 14202.5298 | 14202.5298
2025-12-01 | 37348.29 | 11650.7718 | 11650.7718
2026-01-01 | 47637.755 | 10083.6425 | 10083.6425
2026-02-01 | 44426.9775 | 12247.8879 | 12247.8879
2026-03-01 | 33222.225 | 10004.2177 | 10004.2177
Total | 266108.865 | 69764.3122 | 69764.3122

## Fixed Cost Computation
FIXED COST COMPUTATION
Month | AGBPP Declared Capacity | AGTCPP Declared Capacity | OTPC Declared Capacity | BGTPP Declared Capacity
Oct | 15971.025 | 7247.2425 | 34994.105 | 59733.22
Nov | 16630.02 | 9292.7175 | 31090.6875 | 57827.7525
Dec | 18677.375 | 7459.375 | 34450.3725 | 56902.7675
Jan | 18196.87 | 7860.365 | 36503.755 | 59806.9625
Feb | 16491.825 | 6772.22 | 36022.275 | 38592
Mar | 16427.5725 | 4931.2525 | 31571.6225 | 48979.3575
Total | 102394.6875 | 43563.1725 | 204632.8175 | 321842.06
Availability in MW | 23.442 | 9.9733 | 46.8482 | 73.6818
Normarive Aux. Consumption | 2.75% | 2.75% | 3.5% | 8%
Acutal Availability (Grossed Up) | 24.1049 | 10.2553 | 48.5473 | 80.0889
Allocation to Meghalaya | 34.7 | 16.6 | 78.99 | 88
Availability (%) | 69.47% | 61.78% | 61.46% | 91.01%
Target Availability | 70% | 85% | 85% | 85%
Fixed Cost Allowed by Hon'ble Commission | 56.28 | 20.31 | 76.43 | 127
Propotionate Fixed Charges Based on Availability | 27.9256 | 7.3807 | 27.6317 | 63.5
| 0.99243 | 0.72682 | 0.72306 | 63.5
| 55.8539 | 14.7618 | 55.2634
| 27.9269 | 7.3809 | 27.6317

## OA Consumers Schedules
Quantum purchased from Market by Open Access Consumers (in MWh)
Month | Dalmia Cement | RNB Cement Ltd. | Green Valley Industries Ltd. | Hill Cement Company Ltd. | Nalari Ltd. | Bodhi LLP | Pioneer Carbide | Total
| Net Scheduled | Net Scheduled | Net Scheduled | Net Scheduled | Net Scheduled | Net Scheduled | Net Scheduled | Scheduled
2025-10-01 | 1867.8902 | 0 | 3669.2475 | 2297.4475 | 516.15 | 1468.03 | 1756.4975 | 11575.2627
2025-11-01 | 1800.3873 | 200.56 | 3936.4175 | 2483.225 | 1867.92 | 2211.11 | 1702.91 | 14202.5298
2025-12-01 | 3182.0668 | 567.8225 | 4062.47 | 1405.7725 | 1751.255 | 0 | 681.385 | 11650.7718
2026-01-01 | 2982.8402 | 0 | 3066.9272 | 1958.635 | 1447.99 | 0 | 627.25 | 10083.6425
2026-02-01 | 3984.3754 | 264.06 | 3012.065 | 2737.9275 | 1684.61 | 0 | 564.85 | 12247.8879
2026-03-01 | 5056.5552 | 162.57 | 2188.48 | 2596.6125 | 0 | 0 | 0 | 10004.2177
Total | 18874.115 | 1195.0125 | 19935.6072 | 13479.62 | 7267.925 | 3679.14 | 5332.8925 | 69764.3122